## Arkusz1
Question | Answer | Points
1. Up to how man kilowatts (kW) contain water heating boiler can be called households?
| up to 20 | 0
| up to 15 | 0
| up to 100 | 1
| up to 250 | 0
2. What kind of temperature difference could be between water from the boiler and returning from the boiler
| 20 °C | 1
| 30 °C | 0
| 10 °C | 0
| 5 ° C | 0
3. Which heat losses in the water heating boilers are the greatest?
| Heat losses due to air intakes into furnace; | 0
| Heat losses due to incomplete chemical burning; | 0
| Heat losses due to fuel loss with slag; | 0
| Heat losses due to outgoing smoke. | 1