## resume
PV plant
Investment
Net cost |  | 736000 | EUR
Details
Nº of modules |  | 1150 | uds.
max capacity |  | 230 | kWp
Net electricity production |  | 327750 | kWh/a
average remuineration |  | 0.3826 | €/ kwh
annual average incomings |  | 113898.1506 | €
Total investment |  | 853760 | EUR
Investment per installed kWh |  | 3712 | EUR
Own capital | 100% | 853760 | EUR
lost funds | 0% | 0 | EUR
LOAN | 0% | 0
Loan period |  | 1 | años
Main |  | 0 | EUR
Interest |  | 5%
average dividend |  | 78880.8629
average dividend before taxes |  | 151.4%
TIR (before taxes) |  | 4.715%
Own capital amortization |  | 15 | años
VAN 25 years |  | 935007.2888 | EUR
PV INSTALLATION CONECTED TO GRID
Capacity: |  | 230 | kWp
Location |  | Córdoba
Yearly production: |  | 327750 | kWh
Price Wp: |  | 3.2 | Euros/Wp
Minimum surface |  | 4600 | m2
PROFITABILITY ANALISYS
COSTS OF INSTALLATION AND OPERATION
Total cost |  |  |  | 736000
Operation cost |  |  |  | 35.08% | ingresos
INCOMINGS FROM PRODUCTION
yearly productioin decrease |  |  |  | 0.5%
yearly production |  |  | 2018 | 327750 | kWh/año
Average reference tariff |  |  | 2017 | 0.34 | Euros/kWh
yearly increase of tarif |  |  |  | 1.5% |  |  | TIR (before taxes) | 4.715% | a 25 years
[7 empty] | VAN (before taxes) | 157310.7777 | Euros
Special regime tarif | [6 empty] | Amortization | 15 | years
| Primeros 25 añosFirst 25 years |  | 100% | 0.34 | Euros/kWh
| from year 26 |  | 100% | 0.34 | Euros/kWh
Total yearly incomings |  |  | 2018 | 8871.1 | Euros
FINANCIAL PLANNING
LOAN |  |  | 0% | 0 | Euros
period |  |  | 0 | años
INTEREST |  |  | 5%
OWN FUNDS MONEY |  |  | 100% | 853760 | Euros
VAT FOR RECUPERATION |  |  |  | 117760 | Euros
Contribution to Kioto protocol
Annual PV production |  |  |  |  | 327750 | kWh
Production (tep) |  |  |  |  | 28.1865 | tep
Reduction of emmisions CO2 (T) |  |  |  |  | 90.7605 | T CO2 (greenhouse efect gas)
Reduction of emmisions SO2 (kg) |  |  |  |  | 654.4905 | kg SO2 (acid rain)
Equivalent forest mass to absorb the emmited CO2 |  |  |  |  | 361.2269 | Ha

## input
PROMOTION: |  |  | ECONOMICAL ANALISYS |  |  |  | Version
Adress |  |  | Project name | VIPSKILLS |  |  | Changed |  |  | Deutsch
|  |  | Country | POLAND |  |  | Nº Proyect |  |  | English
|  |  | type | FV |  |  | CONFIDENTIAL |  | Prestamo | Darlehen
|  |  | initial date | 2017 | Monetary analisys January the 1st | 1 | Page 1 of 2 |  | leasing | Spanish
Inputareas are colored in WHITE
0. | Market Data
| Cost of inflaction | 2.5%
| VAT | 16% |  |  | VAN Discount |  | 3%
| Paying off period | 15 |  |  | Cash deposits financial interest |  | 2%
1. | Installation data
| Nº of PV modules |  | 1150 |  | total surface of the plant |  |  | 4600
| Nóminalm power per module |  | 0.2
| total nominal power |  | 230
2. | Energy production
| Brut energy production |  | 327750 |  | Net production per kWp |  |  | 1425
| aditional propduction by solar tracer | 0% | 0 |  | PV TARIF year<=25 |  |  | 100%
| electric loses | 0% | 0 |  | PV tarif year>25 |  |  | 100%
| yearly energy produced |  | 327750 |  | average yearly incomings |  |  | 113898.1506
| TMR (€) |  | 0.32 |  | tarif incrementation |  |  | 1.5%
medium revenues for next 20 years
| 1st year [€/kWh] |  | 0.414 |  | 11th year [€/kWh] |  |  | 0.414
| 2nd year [€/kWh] |  | 0.414 |  | 12th year [€/kWh] |  |  | 0.414
| 3rd year [€/kWh] |  | 0.414 |  | 13th year [€/kWh] |  |  | 0.414
| 4th year [€/kWh] |  | 0.414 |  | 14th year [€/kWh] |  |  | 0.414
| 5th year [€/kWh] |  | 0.414 |  | 15th year [€/kWh] |  |  | 0.414
| 6th year [€/kWh] |  | 0.414 |  | 16th year [€/kWh] |  |  | 0.414
| 7th year [€/kWh] |  | 0.414 |  | 17th year [€/kWh] |  |  | 0.414
| 8th year [€/kWh] |  | 0.414 |  | 18th year [€/kWh] |  |  | 0.414
| 9th year [€/kWh] |  | 0.414 |  | 19th year [€/kWh] |  |  | 0.414
| 10th year [€/kWh] |  | 0.414 |  | 20th year [€/kWh] |  |  | 0.414
| medium revenues over operating period [€/kWh] |  | 0.414
[5 empty] | degradation of efficiency factor |  |  | 0.5%
3. | Investment
| Buy price |  | 736000
| VAT | 16% | 117760
| LEGALIZATION COST | 0% | 0 |  | Final price "ready to use" |  |  | 3200
| TOTAL INVERSION |  | 853760
4. | Financcials
a | Owners capital ( % of inversion) | 100% | 853760 |  | Liquyid capital for the next month |  |  | 0%
b. | subsidy (% of inversion) | 0% | 0
c. | LOAN
| Loan duration | 0 |  |  | Loan amount |  | 0% | 0
| Exclusion period | 0 |  |  | Yearly paying-off |  | 0
| Interest | 5%
5. | Operation costs
| Technical management | 2% | 2277.963 |  |  | Increase in cost | 1.5% | no
| Comercial management | 15% | 17084.7226 |  |  | Increase in cost | 1.5% | no
reserve of replacement for investors
| RENTING | 12% | 13667.7781 |  | Increase in money |  | 1.5% | no
| Dismantling | 0 | 0 |  |  | Increase in cost | 0% | no
| Preventive maintenance | 3% | 3416.9445 |  |  | Increase in cost | 2.5% | si
| Corrective maintenance | 1% | 1138.9815 | 200% after year 10th |  | Increase in cost | 0% | no
| electricity acquisition | 0.2% | 227.7963 |  |  | Increase in cost | 1.5% | no
| ensurance |  | 1000 |  |  | Increase in cost | 2.5% | si
| consultory taxes | 0% | 0 | (0,5%, max. 25 TEUR) |  | Increase in cost | 2.5% | si
| Taxes over benefits | 25% | 25%
| Comercialization taxes | 0 | 0
| Other operation costs | 1% | 1138.9815 |  |  | Increase in cost | 0% | no
| N.N. |  | 0 |  |  | Increase in cost | 0% | no
| N.N. |  | 0 |  |  | Increase in cost | 0% | no
| N.N. |  | 0 |  | ja | Increase in cost | 0% | no
| N.N. |  | 0 |  |  | Increase in cost | 0% | no
| Total costs of operation (absol.) |  | 39953.4175 |  | Operation costs in % of production |  |  | 35.08%
6. | Memo
#VALUE!
Note on C43: Kaufpreis / Purchase price: Inkl. aller Genehmigungen und Rechte. Inclusive permits and rights.
Note on C63: Reparaturkosten / repair costs: Abhängig vom Maschinen- und Infrastrukturwert. Standard 0,5 % der Stromerlöse. Depending from value of machine and infrastructure. Standard 0,5 % of energysales.
Note on C65: Versicherung / Insurance: Standard aus UK-Rahmenvertrag (5 DM pro kW und 100 DM je Anlage) Standard from UK-skeleton-agreement (5 DM/kW and 100 DM each Engine)
Note on C67: Unternehmenssteuern / Taxes: Steuern (Kommunal- und Ertragssteuern) am Standort auf den Gewinn. Abhängig von Gesellschaftsform, Land, etc.) Taxes which the operationg company has to pay on the site. Depends on the site country and type of company.
Note on J57: MM: Standard: nein Zulässig: ja oder nein
Note on J58: MM: Standard: nein Zulässig: ja oder nein
Note on J61: MM: Standard: nein Zulässig: ja oder nein
Note on J62: MM: Standard: ja Zulässig: ja oder nein
Note on J63: MM: Standard: ja Zulässig: ja oder nein
Note on J64: MM: Standard: nein Zulässig: ja oder nein
Note on J65: MM: Standard: ja Zulässig: ja oder nein
Note on J66: MM: Standard: ja Zulässig: ja oder nein
Note on J69: MM: Standard: ja Zulässig: ja oder nein
Note on J70: MM: Standard: nein Zulässig: ja oder nein
Note on J71: MM: Standard: nein Zulässig: ja oder nein
Note on J72: MM: Standard: nein Zulässig: ja oder nein
Note on J73: MM: Standard: nein Zulässig: ja oder nein
Note on C61: Anlagenrückbau / site restoring: Standard: 25.000 € je WEA Wenn Wiederveräusserungswert aktiviert, dann kein Anlangerückbau. If "plant value after operation period" is activated then deactivate this value.
Note on C62: Wartung / Maintenance: Standard: 4.000 - 7.000 Euro/turbine
Note on C66: Steuerberatung / Tax advisory: Aus der Erfahrung ca. 1 % der Stromerlöse. Standard: 1 % of energysales.
Note on C64: Strombezugskosten / Current cover: Standard: 0,4 % der Stromerlöse. Standard: 0,4 % of energysales.
Note on C45: Kaufpreis / Purchase price: Inkl. aller Genehmigungen und Rechte. Inclusive permits and rights.
Note on J60: MM: Standard: nein Zulässig: ja oder nein
Note on C68: Unternehmenssteuern / Taxes: Steuern (Kommunal- und Ertragssteuern) am Standort auf den Gewinn. Abhängig von Gesellschaftsform, Land, etc.) Taxes which the operationg company has to pay on the site. Depends on the site country and type of company.
Note on C69: Oliver Scheld: local taxes or fees
Note on E69: Oliver Scheld: impuestos locales

## result
| A |  | 1 | [5 empty] | CAPITAL PROPIO |  | 853760
| A | [7 empty] | CAPITAL FINANCIADO |  | 0 | Español
|  | Currency: |  | Euro
A |  | Sprache in |  | 0
|  | LIQUIDITY PLAN | [22 empty] | version | [6 empty] | 0
|  | Project |  | VIPSKILLS | [20 empty] | changed by | [6 empty] | 0
|  | Country |  | POLAND | [26 empty] | C O N F I D E N T I A L !
|  | Tipe |  | FV |  | PRICE IN EUROS | [24 empty] | Page 2 of 2
[5 empty] | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
|  | Year of operation |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 |  | Total
|  | remuneration |  |  |  | 0.3248 | 0.3248 | 0.32967 | 0.33462 | 0.33964 | 0.34473 | 0.3499 | 0.35515 | 0.36048 | 0.36588 | 0.37137 | 0.37694 | 0.3826 | 0.38834 | 0.39416 | 0.40007 | 0.40608 | 0.41217 | 0.41835 | 0.42462 | 0.43099 | 0.43746 | 0.44402 | 0.45068 | 0.45744
Incomings
|  | 1.1 | Incomings by electricity sales |  |  | 8871.1 | 105920.934 | 106966.7968 | 108017.4477 | 109072.7399 | 110132.5197 | 111196.6267 | 112264.8937 | 113337.146 | 114413.2018 | 115492.8716 | 116575.9581 | 117662.2562 | 118751.5522 | 119843.6242 | 120938.2415 | 122035.1647 | 123134.1449 | 124234.924 | 125337.2341 | 126440.7976 | 127545.3263 | 128650.522 | 129756.0752 | 130861.6659 |  | 2847453.7647
|  | 1.2 | Incomings by interest | [33 empty] | 1648.64 | 1648.64 | 1648.64 | 1648.64 | 1648.64
|  | 1.3 | VAT devolution |  | PRICE IN EUROS 2018 1: 117760
|  | Total incomings |  |  |  | 8871.1 | 105920.934 | 106966.7968 | 108017.4477 | 109072.7399 | 110132.5197 | 111196.6267 | 112264.8937 | 113337.146 | 114413.2018 | 115492.8716 | 116575.9581 | 117662.2562 | 118751.5522 | 119843.6242 | 120938.2415 | 122035.1647 | 123134.1449 | 124234.924 | 125337.2341 | 126440.7976 | 127545.3263 | 128650.522 | 129756.0752 | 130861.6659 |  | 2847453.7647
Costs
|  | 2.1 | Interests payment |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | 2.1 | Capital PAYING-OFF |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | 2.3 | RENTING |  |  | 1227.6925 | 26583.3068 | 26916.9023 | 27254.1937 | 27595.2103 | 27939.981 | 28288.5351 | 28640.9012 | 28997.1082 | 29357.1846 | 29721.159 | 30089.0596 | 30460.9146 | 30836.7517 | 31216.5989 | 31600.4834 | 31988.4326 | 32380.4734 | 32776.6326 | 33176.9364 | 33581.411 | 33990.0822 | 34402.9753 | 34820.1154 | 35241.5271 |  | 739084.569
|  | 2.4 | Dismantling |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | 2.5 | Preventive maintenance |  |  | 3416.9445 | 3502.3681 | 3589.9273 | 3679.6755 | 3771.6674 | 3865.9591 | 3962.6081 | 4061.6733 | 4163.2151 | 4267.2955 | 4373.9779 | 4483.3273 | 4595.4105 | 4710.2958 | 4828.0532 | 4948.7545 | 5072.4733 | 5199.2852 | 5329.2673 | 5462.499 | 5599.0615 | 5739.038 | 5882.5139 | 6029.5768 | 6180.3162 |  | 116715.1842
|  | 2.6 | Corrective maintenance |  |  | 1138.9815 | 1167.456 | 1196.6424 | 1226.5585 | 1257.2225 | 1288.653 | 1320.8694 | 1353.8911 | 1387.7384 | 1422.4318 | 1457.9926 | 1494.4424 | 1531.8035 | 1570.0986 | 1609.3511 | 1649.5848 | 1690.8244 | 1733.0951 | 1776.4224 | 1820.833 | 1866.3538 | 1913.0127 | 1960.838 | 2009.8589 | 2060.1054 |  | 38905.0614
|  | 2.7 | Energy acquisition |  |  | 18.983 | 231.2132 | 234.6814 | 238.2017 | 241.7747 | 245.4013 | 249.0823 | 252.8186 | 256.6108 | 260.46 | 264.3669 | 268.3324 | 272.3574 | 276.4428 | 280.5894 | 284.7982 | 289.0702 | 293.4063 | 297.8074 | 302.2745 | 306.8086 | 311.4107 | 316.0819 | 320.8231 | 325.6355 |  | 6639.4323
|  | 2.8 | Insurance |  |  | 83.3333 | 1025 | 1050.625 | 1076.8906 | 1103.8129 | 1131.4082 | 1159.6934 | 1188.6858 | 1218.4029 | 1248.863 | 1280.0845 | 1312.0867 | 1344.8888 | 1378.511 | 1412.9738 | 1448.2982 | 1484.5056 | 1521.6183 | 1559.6587 | 1598.6502 | 1638.6164 | 1679.5819 | 1721.5714 | 1764.6107 | 1808.7259 |  | 33241.0973
|  | 2.9 | Exploitation management |  |  | 1613.5571 | 19653.1259 | 19947.9228 | 20247.1416 | 20550.8487 | 20859.1115 | 21171.9981 | 21489.5781 | 21811.9218 | 22139.1006 | 22471.1871 | 22808.2549 | 23150.3788 | 23497.6344 | 23850.0989 | 24207.8504 | 24570.9682 | 24939.5327 | 25313.6257 | 25693.3301 | 26078.73 | 26469.911 | 26866.9597 | 27269.9641 | 27679.0135 |  | 564351.7458
|  | 12. | consultory taxes |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | 13. | comercialization taxes |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | 2.10 | other operation costs |  |  | 94.9151 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 | 1138.9815 |  | 27430.4713
|  | 15. | N.N. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | 16. | N.N. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | 17. | N.N. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | 2.11 | Operation costs |  |  | 7594.4071 | 53301.4516 | 54075.6828 | 54861.6431 | 55659.518 | 56469.4957 | 57291.7679 | 58126.5295 | 58973.9787 | 59834.317 | 60707.7496 | 61594.4849 | 62494.735 | 63408.7158 | 64336.6467 | 65278.7511 | 66235.2559 | 67206.3924 | 68192.3956 | 69193.5046 | 70209.9629 | 71242.0179 | 72289.9217 | 73353.9305 | 74434.3051 | 0 | 1526367.5613
|  | 18. | N.N. |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | Total Costs |  |  |  | 7594.4071 | 53301.4516 | 54075.6828 | 54861.6431 | 55659.518 | 56469.4957 | 57291.7679 | 58126.5295 | 58973.9787 | 59834.317 | 60707.7496 | 61594.4849 | 62494.735 | 63408.7158 | 64336.6467 | 65278.7511 | 66235.2559 | 67206.3924 | 68192.3956 | 69193.5046 | 70209.9629 | 71242.0179 | 72289.9217 | 73353.9305 | 74434.3051 | 0 | 1526367.5613
Results aplying
|  | Cash flux(incomings-costs) |  |  |  | 1276.6929 | 52619.4824 | 52891.114 | 53155.8046 | 53413.222 | 53663.024 | 53904.8588 | 54138.3642 | 54363.1673 | 54578.8847 | 54785.122 | 54981.4733 | 55167.5211 | 55342.8363 | 55506.9774 | 55659.4905 | 55799.9088 | 55927.7525 | 56042.5284 | 56143.7295 | 56230.8347 | 56303.3084 | 56360.6003 | 56402.1447 | 56427.3608 |  | 1321086.2035
|  | 3.1 | Amortization of Capital (pos) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
|  | 3.2 | tax depreciation (neg) |  |  | 49066.6667 | 49066.6667 | 49066.6667 | 49066.6667 | 49066.6667 | 49066.6667 | 49066.6667 | 49066.6667 | 49066.6667 | 49066.6667 | 49066.6667 | 49066.6667 | 49066.6667 | 49066.6667 | 49066.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 736000
|  | G&L Gains and loses |  |  |  | -47789.9738 | 3552.8157 | 3824.4473 | 4089.1379 | 4346.5553 | 4596.3574 | 4838.1922 | 5071.6975 | 5296.5006 | 5512.2181 | 5718.4553 | 5914.8066 | 6100.8545 | 6276.1697 | 6440.3107 | 55659.4905 | 55799.9088 | 55927.7525 | 56042.5284 | 56143.7295 | 56230.8347 | 56303.3084 | 56360.6003 | 56402.1447 | 56427.3608 |  | 585086.2035 |  | 267019.3398
|  | 4.1 | Taxes |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1242.8025 | 1525.2136 | 1569.0424 | 1610.0777 | 13914.8726 | 13949.9772 | 13981.9381 | 14010.6321 | 14035.9324 | 14057.7087 | 14075.8271 | 14090.1501 | 14100.5362 | 14106.8402 |  |  |  | 384779.3398
|  | Benefit before taxes |  |  |  | -47789.9738 | 3552.8157 | 3824.4473 | 4089.1379 | 4346.5553 | 4596.3574 | 4838.1922 | 5071.6975 | 5296.5006 | 5512.2181 | 5718.4553 | 4672.0041 | 4575.6408 | 4707.1272 | 4830.2331 | 41744.6178 | 41849.9316 | 41945.8144 | 42031.8963 | 42107.7971 | 42173.126 | 42227.4813 | 42270.4502 | 42301.6086 | 42320.5206 |  | 438814.6526
|  | G&L in % |  |  |  | -5.598% | 0.4161% | 0.448% | 0.479% | 0.5091% | 0.5384% | 0.5667% | 0.594% | 0.6204% | 0.6456% | 0.6698% | 0.6928% | 0.7146% | 0.7351% | 0.7543% | 6.519% | 6.536% | 6.551% | 6.564% | 6.576% | 6.586% | 6.595% | 6.601% | 6.606% | 6.609% |  | 68.53%
|  | 5.1 | Cash after taxes (+devol. VAT year 1) |  | -853760 | 119036.6929 | 52619.4824 | 52891.114 | 53155.8046 | 53413.222 | 53663.024 | 53904.8588 | 54138.3642 | 54363.1673 | 54578.8847 | 54785.122 | 53738.6707 | 53642.3075 | 53773.7939 | 53896.8997 | 41744.6178 | 41849.9316 | 41945.8144 | 42031.8963 | 42107.7971 | 42173.126 | 42227.4813 | 42270.4502 | 42301.6086 | 42320.5206 | 78880.8629 | 3.944% | TIR despues de impuestos |  | 78880.8629 | VAN
|  | 5.2 | Max Payment (absolute) |  |  | 119036.6929 | 52619.4824 | 52891.114 | 53155.8046 | 53413.222 | 53663.024 | 53904.8588 | 54138.3642 | 54363.1673 | 54578.8847 | 54785.122 | 53738.6707 | 53642.3075 | 53773.7939 | 53896.8997 | 41744.6178 | 41849.9316 | 41945.8144 | 42031.8963 | 42107.7971 | 42173.126 | 42227.4813 | 42270.4502 | 42301.6086 | 42320.5206 |  | 1292574.6526
|  | 5.3 | Min Payment (in % of own capital) |  |  | 13.94% | 6.163% | 6.195% | 6.226% | 6.256% | 6.285% | 6.314% | 6.341% | 6.367% | 6.393% | 6.417% | 6.294% | 6.283% | 6.298% | 6.313% | 4.89% | 4.902% | 4.913% | 4.923% | 4.932% | 4.94% | 4.946% | 4.951% | 4.955% | 4.957% |  | 151.4%
|  |  | Calculation interval |  |  | -47789.9738 | -44237.1581 | -40412.7108 | -36323.5728 | -31977.0176 | -27380.6602 | -22542.468 | -17470.7705 | -12174.2699 | -6662.0518 | -943.5965 | 3728.4076 | 4575.6408 | 4707.1272 | 4830.2331 | 41744.6178 | 41849.9316 | 41945.8144 | 42031.8963 | 42107.7971 | 42173.126 | 42227.4813 | 42270.4502 | 42301.6086 | 42320.5206
|  | 5.4 | Benefit |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3728.4076 | 4575.6408 | 4707.1272 | 4830.2331 | 41744.6178 | 41849.9316 | 41945.8144 | 42031.8963 | 42107.7971 | 42173.126 | 42227.4813 | 42270.4502 | 42301.6086 | 42320.5206 |  | 438814.6526
|  | 5.5 | G&L accumulated |  |  | -47789.9738 | -44237.1581 | -40412.7108 | -36323.5728 | -31977.0176 | -27380.6602 | -22542.468 | -17470.7705 | -12174.2699 | -6662.0518 | -943.5965 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 5.6 | Return of own capital |  |  | 119036.6929 | 52619.4824 | 52891.114 | 53155.8046 | 53413.222 | 53663.024 | 53904.8588 | 54138.3642 | 54363.1673 | 54578.8847 | 54785.122 | 50010.2631 | 49066.6667 | 49066.6667 | 49066.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 853760
|  | 5.7 | Return of capital |  |  | 119036.6929 | 52619.4824 | 52891.114 | 53155.8046 | 53413.222 | 53663.024 | 53904.8588 | 54138.3642 | 54363.1673 | 54578.8847 | 54785.122 | 53738.6707 | 53642.3075 | 53773.7939 | 53896.8997 | 41744.6178 | 41849.9316 | 41945.8144 | 42031.8963 | 42107.7971 | 42173.126 | 42227.4813 | 42270.4502 | 42301.6086 | 42320.5206 |  | 1292574.6526
|  | 5.8 | Dividend |  |  | 119036.6929 | 52619.4824 | 52891.114 | 53155.8046 | 53413.222 | 53663.024 | 53904.8588 | 54138.3642 | 54363.1673 | 54578.8847 | 54785.122 | 53738.6707 | 53642.3075 | 53773.7939 | 53896.8997 | 41744.6178 | 41849.9316 | 41945.8144 | 42031.8963 | 42107.7971 | 42173.126 | 42227.4813 | 42270.4502 | 42301.6086 | 42320.5206
|  | 5.9 | Accumulated cash |  | -853760 | -734723.3071 | -682103.8248 | -629212.7108 | -576056.9062 | -522643.6842 | -468980.6602 | -415075.8013 | -360937.4372 | -306574.2699 | -251995.3851 | -197210.2631 | -143471.5924 | -89829.2849 | -36055.491 | 17841.4088 | 59586.0266 | 101435.9582 | 143381.7725 | 185413.6688 | 227521.466 | 269694.592 | 311922.0733 | 354192.5235 | 396494.132 | 438814.6526
|  | 5.10 | Cash flux before year 1 |  | -853760 | 119036.6929 | 52619.4824 | 52891.114 | 53155.8046 | 53413.222 | 53663.024 | 53904.8588 | 54138.3642 | 54363.1673 | 54578.8847 | 54785.122 | 54981.4733 | 55167.5211 | 55342.8363 | 55506.9774 | 55659.4905 | 55799.9088 | 55927.7525 | 56042.5284 | 56143.7295 | 56230.8347 | 56303.3084 | 56360.6003 | 56402.1447 | 56427.3608 | 157310.7777 | 4.715% | TIR antes impuestos |  | 157310.7777 | VAN
|  | 5.11 | Dividend with VAT reserve |  | PRICE IN EUROS 2018 1: 1276.6929
|  | Cash before recovered taxes |  |  | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 | 117760 |  | 117760
|  | 6.1 | Min cash in stock |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 6.2 | debt service covering ratio (DSCR) | bar: PRICE IN EUROS 2018 1 to PRICE IN EUROS 2032 15
|  |  | Year of operation |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Results
|  |  | Total investment |  |  | 3: 853760; 6: Ingreso anual medioyEARLY AVERAGE INCOMINGS; 11: 110209.9689; 15: cash flow / total income; 20: 46.4%
|  |  | Own Capital |  |  | 2: 100%; 3: 853760; 6: Average tarif during the useful period of the installation; 11: 0.37022; 15: gross margin/capital investment; 20: 0%
|  |  | Nominal power of the plant |  |  | 3: 230; 4: kW; 6: medium debt service covering ratio (DSCR); 11: #DIV/0!; 15: gross margin/material usage; 20: 0%
|  |  | Yearly produced energy |  |  | 3: 327750; 4: kWh/a; 6: TIR before taxes; 11: 4.715%; 15: COSTE LEGALIZACION; 20: 0 | €
|  |  | Total energy reduction |  |  | 3: 0%; 6: VAN before taxes; 11: 157310.7777; 12: Euros; 15: medium power production costs; 20: 0.18628 | €/kWh
[11 empty] | Amorization period |  |  |  |  | 15 | años
|  |  | Total investment per kWp |  |  | 3: 3712; 4: €/kW; 6: TIR after taxes; 11: 3.944%
|  |  | Maintenance cost/year |  |  | 3: 2.3741; 4: Cent/kWh; 6: VAN after taxes; 11: 78880.8629; 12: Euros
|  |  | Reviewed year of amortization of own capital |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A |  | Year of operation |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
| A |  | year of amortization |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A |  | Dividend |  |  | 119036.6929 | 52619.4824 | 52891.114 | 53155.8046 | 53413.222 | 53663.024 | 53904.8588 | 54138.3642 | 54363.1673 | 54578.8847 | 54785.122 | 53738.6707 | 53642.3075 | 53773.7939 | 53896.8997 | 41744.6178 | 41849.9316 | 41945.8144 | 42031.8963 | 42107.7971 | 42173.126 | 42227.4813 | 42270.4502 | 42301.6086 | 42320.5206
|  |  | correction of own capital | -100% |  | -86.06% | -79.89% | -73.7% | -67.47% | -61.22% | -54.93% | -48.62% | -42.28% | -35.91% | -29.52% | -23.1% | -16.8% | -10.52% | -4.223% | 2.09% | 6.979% | 11.88% | 16.79% | 21.72% | 26.65% | 31.59% | 36.54% | 41.49% | 46.44% | 51.4%
|  |  | Loan payment |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A |  |  |  |  | 1: Loan
| A |  |  | DSCR
|  |  | Yearly G&L before taxes |  |  | -47789.9738 | 3552.8157 | 3824.4473 | 4089.1379 | 4346.5553 | 4596.3574 | 4838.1922 | 5071.6975 | 5296.5006 | 5512.2181 | 5718.4553 | 5914.8066 | 6100.8545 | 6276.1697 | 6440.3107 | 55659.4905 | 55799.9088 | 55927.7525 | 56042.5284 | 56143.7295 | 56230.8347 | 56303.3084 | 56360.6003 | 56402.1447 | 56427.3608
|  |  | G&L acumulated |  |  | -47789.9738 | -44237.1581 | -40412.7108 | -36323.5728 | -31977.0176 | -27380.6602 | -22542.468 | -17470.7705 | -12174.2699 | -6662.0518 | -943.5965 | 4971.2101 | 6100.8545 | 6276.1697 | 6440.3107 | 55659.4905 | 55799.9088 | 55927.7525 | 56042.5284 | 56143.7295 | 56230.8347 | 56303.3084 | 56360.6003 | 56402.1447 | 56427.3608
|  |  | Taxes |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1242.8025 | 1525.2136 | 1569.0424 | 1610.0777 | 13914.8726 | 13949.9772 | 13981.9381 | 14010.6321 | 14035.9324 | 14057.7087 | 14075.8271 | 14090.1501 | 14100.5362 | 14106.8402
|  |  | Reviewed G&L |  |  | -47789.9738 | -44237.1581 | -40412.7108 | -36323.5728 | -31977.0176 | -27380.6602 | -22542.468 | -17470.7705 | -12174.2699 | -6662.0518 | -943.5965 | 4971.2101 | 6100.8545 | 6276.1697 | 6440.3107 | 55659.4905 | 55799.9088 | 55927.7525 | 56042.5284 | 56143.7295 | 56230.8347 | 56303.3084 | 56360.6003 | 56402.1447 | 56427.3608
|  |  | Compensation taxes |  |  | -11947.4935 | 888.2039 | 956.1118 | 1022.2845 | 1086.6388 | 1149.0893 | 1209.548 | 1267.9244 | 1324.1252 | 1378.0545 | 1429.6138 | 1478.7016 | 1525.2136 | 1569.0424 | 1610.0777 | 13914.8726 | 13949.9772 | 13981.9381 | 14010.6321 | 14035.9324 | 14057.7087 | 14075.8271 | 14090.1501 | 14100.5362 | 14106.8402
|  |  | Buy price |  |  | 2: 736000
0
|  |  | LEGALIZATION COST |  |  | 2: 0
|  |  | SUM |  |  | 2: 736000
|  |  | YEARS FOR TAXES AMORTIZATION |  |  | 2: 15
|  |  | YEARLY AMORTIZATION |  |  | 2: 49066.6667
|  |  | TOTAL CAPITAL FOR AMORTIZATION |  |  | 2: 736000
Note on E65: muss immer!!! über 1,2 liegen, da Bankrelevant

## Environmental balance
Contribution to Kioto protocol
Yearly production of the plant ( kWh) |  |  | 327750 | kWh
Production (tep) |  |  | 28.1865 | tep
Emisions reduction CO2 (T) |  |  | 90.7605 | T CO2 (greenhouse effect gas)
Emissions reduction SO2 (kg) |  |  | 654.4905 | kg SO2 (acid rain)
Equivalent forest mass for the equivalent absortion of emmited CO2 |  |  | 361.2269 | Ha
1kWh | 860 | kcal
1tep | 10000000 | kcal
1MWh | 0.086 | tep
1kcal | 4.186 | kJ
1 te | 1000 | kcal
1tep | 3.22 | T CO2
1tep | 23.22 | kg SO2
1T CO2 | 3.98 | Ha forest mass
1MWh | 0.27692 | T CO2

## Report
ANÁLISIS DE FLUJOSFLUX ANALISYS |  |  |  | TIR25 before taxes |  | 4.715% | VAN before taxes |  | 157310.7777
|  |  |  | TIR25 |  | 3.944% | VAN 3% discount |  | 78880.8629
Yearly movements
Year | Bonus (€/kWp) | Production incomings (€) | Operation costs (€) | Incomingss- Opp. cost. (€) | VAT | CREDIT | Amort. | Interest | Results of operations | IS | IS(b) | Net cash flow | Flujo neto tesoreria (b) | Saldo cuenta cliente (b) | Custom acount balance | Year
0 |  |  |  |  | -117760 | 0 | [5 empty] | -853760 | -853760 | -853760 | -853760 | 0
1 | 0.3248 | 8871.1 | 7594.4071 | 1276.6929 | 117760 | 0 | 0 | 0 | 1276.6929 | 0 | 888.2039 | 119036.6929 | 118148.4889 | -735611.5111 | -734723.3071 | 1
2 | 0.3248 | 105920.934 | 53301.4516 | 52619.4824 |  | 0 | 0 | 0 | 52619.4824 | 0 | 888.2039 | 52619.4824 | 51731.2784 | -683880.2326 | -682103.8248 | 2
3 | 0.32967 | 106966.7968 | 54075.6828 | 52891.114 |  | 0 | 0 | 0 | 52891.114 | 0 | 956.1118 | 52891.114 | 51935.0022 | -631945.2305 | -629212.7108 | 3
4 | 0.33462 | 108017.4477 | 54861.6431 | 53155.8046 |  | 0 | 0 | 0 | 53155.8046 | 0 | 1022.2845 | 53155.8046 | 52133.5201 | -579811.7103 | -576056.9062 | 4
5 | 0.33964 | 109072.7399 | 55659.518 | 53413.222 |  | 0 | 0 | 0 | 53413.222 | 0 | 1086.6388 | 53413.222 | 52326.5831 | -527485.1272 | -522643.6842 | 5
6 | 0.34473 | 110132.5197 | 56469.4957 | 53663.024 |  | 0 | 0 | 0 | 53663.024 | 0 | 1149.0893 | 53663.024 | 52513.9347 | -474971.1925 | -468980.6602 | 6
7 | 0.3499 | 111196.6267 | 57291.7679 | 53904.8588 |  | 0 | 0 | 0 | 53904.8588 | 0 | 1209.548 | 53904.8588 | 52695.3108 | -422275.8817 | -415075.8013 | 7
8 | 0.35515 | 112264.8937 | 58126.5295 | 54138.3642 |  | 0 | 0 | 0 | 54138.3642 | 0 | 1267.9244 | 54138.3642 | 52870.4398 | -369405.4419 | -360937.4372 | 8
9 | 0.36048 | 113337.146 | 58973.9787 | 54363.1673 |  | 0 | 0 | 0 | 54363.1673 | 0 | 1324.1252 | 54363.1673 | 53039.0421 | -316366.3998 | -306574.2699 | 9
10 | 0.36588 | 114413.2018 | 59834.317 | 54578.8847 |  | 0 | 0 | 0 | 54578.8847 | 0 | 1378.0545 | 54578.8847 | 53200.8302 | -263165.5696 | -251995.3851 | 10
11 | 0.37137 | 115492.8716 | 60707.7496 | 54785.122 |  | 0 | 0 | 0 | 54785.122 | 0 | 1429.6138 | 54785.122 | 53355.5082 | -209810.0614 | -197210.2631 | 11
12 | 0.37694 | 116575.9581 | 61594.4849 | 54981.4733 |  | 0 | 0 | 0 | 54981.4733 | 1242.8025 | 1478.7016 | 53738.6707 | 53502.7716 | -156307.2898 | -143471.5924 | 12
13 | 0.3826 | 117662.2562 | 62494.735 | 55167.5211 |  | 0 | 0 | 0 | 55167.5211 | 1525.2136 | 1525.2136 | 53642.3075 | 53642.3075 | -102664.9823 | -89829.2849 | 13
14 | 0.38834 | 118751.5522 | 63408.7158 | 55342.8363 |  | 0 | 0 | 0 | 55342.8363 | 1569.0424 | 1569.0424 | 53773.7939 | 53773.7939 | -48891.1884 | -36055.491 | 14
15 | 0.39416 | 119843.6242 | 64336.6467 | 55506.9774 |  | 0 | 0 | 0 | 55506.9774 | 1610.0777 | 1610.0777 | 53896.8997 | 53896.8997 | 5005.7114 | 17841.4088 | 15
16 | 0.40007 | 120938.2415 | 65278.7511 | 55659.4905 |  | 0 | 0 | 0 | 55659.4905 | 13914.8726 | 13914.8726 | 41744.6178 | 41744.6178 | 46750.3292 | 59586.0266 | 16
17 | 0.40608 | 122035.1647 | 66235.2559 | 55799.9088 |  | 0 | 0 | 0 | 55799.9088 | 13949.9772 | 13949.9772 | 41849.9316 | 41849.9316 | 88600.2608 | 101435.9582 | 17
18 | 0.41217 | 123134.1449 | 67206.3924 | 55927.7525 |  | 0 | 0 | 0 | 55927.7525 | 13981.9381 | 13981.9381 | 41945.8144 | 41945.8144 | 130546.0751 | 143381.7725 | 18
19 | 0.41835 | 124234.924 | 68192.3956 | 56042.5284 |  | 0 | 0 | 0 | 56042.5284 | 14010.6321 | 14010.6321 | 42031.8963 | 42031.8963 | 172577.9715 | 185413.6688 | 19
20 | 0.42462 | 125337.2341 | 69193.5046 | 56143.7295 |  | 0 | 0 | 0 | 56143.7295 | 14035.9324 | 14035.9324 | 42107.7971 | 42107.7971 | 214685.7686 | 227521.466 | 20
21 | 0.43099 | 126440.7976 | 70209.9629 | 56230.8347 |  | 0 | 0 | 0 | 56230.8347 | 14057.7087 | 14057.7087 | 42173.126 | 42173.126 | 256858.8946 | 269694.592 | 21
22 | 0.43746 | 127545.3263 | 71242.0179 | 56303.3084 |  | 0 | 0 | 0 | 56303.3084 | 14075.8271 | 14075.8271 | 42227.4813 | 42227.4813 | 299086.3759 | 311922.0733 | 22
23 | 0.44402 | 128650.522 | 72289.9217 | 56360.6003 |  | 0 | 0 | 0 | 56360.6003 | 14090.1501 | 14090.1501 | 42270.4502 | 42270.4502 | 341356.8261 | 354192.5235 | 23
24 | 0.45068 | 129756.0752 | 73353.9305 | 56402.1447 |  | 0 | 0 | 0 | 56402.1447 | 14100.5362 | 14100.5362 | 42301.6086 | 42301.6086 | 383658.4347 | 396494.132 | 24
25 | 0.45744 | 130861.6659 | 74434.3051 | 56427.3608 |  | 0 | 0 | 0 | 56427.3608 | 14106.8402 | 14106.8402 | 42320.5206 | 42320.5206 | 425978.9552 | 438814.6526 | 25
|  | 2847453.7647 | 1526367.5613 | 1321086.2035 |  |  | 0 |  |  |  | 0